## Sheet1
DIY furnace blower powered Blower Door -- Estimating Flow Rate at 50 Pa
Estimating flow at 50 Pa depressurization -- by interpolation
Use this method if you are able to exceed 50 Pa with one of the fan speeds
|  | Pressure | Flow
|  | Pa | cfm | Typical flow at fan speeds 1(lo) through 4 (Hi)
| For fan speed below 50 Pa | 44 | 1870 | Speed
| For fan speed above 50 Pa | 62 | 2470 | 1 | 1320
|  |  |  | 2 | 1550
|  |  |  | 3 | 1870
| Flow at 50 Pa | 2070 | cfm | 4 | 2470
In the blue cells, fill in the pressures you measured for the two fan speeds that bracket 50 Pa.
In the green cells, fill in the flow rates for the corresponding fan speeds (see table ar right for typical flow rates vs fan speeds.)
Estimating flow at 50 Pa depressurization -- using n=0.65 power curve
Use this method if the highest fan speed still does not get up to 50 Pa depressurization
|  | Pressure | Flow
|  | Pa | cfm
| For highest fan speed | 42 | 2470
| Flow at 50 Pa | 2766.4028
In the blue cell, enter the pressure that you manometer reads when the fan is on high speed
In the green cell, enter the flow rate in cfm for your blower in its highest speed
Gary 2/24/2013